ReactorGuard

Nuclear Reactor Anomaly Detection Platform

Technical Design Document v1.0

Physics-Informed ML · Uncertainty Quantification · Cloud-Native

January 2025  ·  Version 1.0

# 1. Executive Summary

ReactorGuard is a cloud-native platform for real-time anomaly detection in nuclear reactor instrumentation systems. It combines physics-informed machine learning with Bayesian uncertainty quantification to distinguish genuine safety anomalies from sensor noise, drift, and silent failures — a problem where false negatives are unacceptable and false positives are costly.

Unlike general-purpose anomaly detection systems, ReactorGuard encodes thermodynamic and neutron-physics constraints directly into its models. A prediction that violates the energy balance equation is flagged as a system fault regardless of the ML confidence score.

Vision:

Design, implement, and operate a safety-critical ML platform on GCP that demonstrates mastery of streaming data infrastructure, physics-constrained ML, uncertainty quantification, and production MLOps.

## 1.1 Key Technical Differentiators vs Sentinel

| Dimension | Sentinel | ReactorGuard |
| --- | --- | --- |
| Data type | Discrete log events | Continuous multivariate time series |
| Latency target | < 100ms p99 | < 50ms p99 (safety-critical) |
| ML approach | Isolation Forest + XGBoost | Physics-Informed Neural Networks + BNN |
| Uncertainty | Not quantified | Explicit via Conformal Prediction |
| Constraint layer | None | Thermodynamic + neutronics constraints |
| Sensor faults | Not modeled | Drift, bias, stuck readings, noise spikes |
| Data pipeline | Batch + streaming | Continuous streaming, never stops |
| Ground truth | Labeled attack data | Physics simulation (OpenMC) |

## 1.2 Principal Stack

| Layer | Technology |
| --- | --- |
| Cloud | Google Cloud Platform (GCP) |
| IaC | Terraform |
| Orchestration | Kubernetes (GKE) |
| Streaming | Apache Kafka on GKE + Pub/Sub |
| API | FastAPI + Uvicorn |
| ML — Physics models | PyTorch + DeepXDE (PINNs) |
| ML — Probabilistic | PyMC / BayesianTorch |
| ML — Uncertainty | MAPIE (Conformal Prediction) |
| Simulation / Data | OpenMC + PyDy thermal models |
| Feature store | Feast on GCS |
| MLOps | MLflow + DVC |
| Observability | Prometheus + Grafana + OpenTelemetry |
| CI/CD | GitHub Actions |
| Security | Trivy + Semgrep + Binary Authorization |

# 2. Problem Statement

## 2.1 The Challenge

A nuclear reactor continuously generates thousands of sensor readings per second: coolant temperatures, neutron flux, pressure, flow rates, control rod positions. Anomaly detection in this context has properties that make it fundamentally harder than generic industrial monitoring:

- Sensors fail silently — a thermocouple can produce a plausible-looking flat line at its last valid reading, not an obvious error signal.

- Sensor drift is gradual — readings shift slowly over months due to radiation damage. Standard Z-score methods miss it entirely.

- Physical correlations are mandatory — if core outlet temperature rises but coolant flow is unchanged, inlet temperature must also change. A model that predicts otherwise is wrong by definition.

- Uncertainty must be explicit — saying 'anomaly score: 0.73' is insufficient. The operator needs to know whether that score has a confidence interval of ±0.02 or ±0.40.

- False negatives have asymmetric cost — missing a real anomaly is categorically worse than a false alarm.

## 2.2 Fault Taxonomy

| Fault Category | Mechanism | Detection Challenge | Severity |
| --- | --- | --- | --- |
| Thermocouple drift | Radiation-induced EMF shift, ~0.1°C/day | Gradual, within normal range | HIGH |
| Stuck sensor | Fixed reading, not zero or NaN | Looks valid, correlations break | CRITICAL |
| Noise spike | EMI burst, single sample outlier | Easy to confuse with real events | LOW |
| Bias fault | Systematic offset post-calibration | Constant error, hard to detect without reference | HIGH |
| Intermittent fault | Random valid/invalid alternation | Statistically hard to separate from variability | MEDIUM |
| Core temperature excursion | Actual thermal event | Must not be missed under any condition | CRITICAL |
| Coolant flow reduction | Pump degradation | Early symptom: subtle flow oscillation | HIGH |
| Void formation | Boiling in primary circuit | Density change, acoustics signature | CRITICAL |

## 2.3 Non-Functional Requirements

| Requirement | Target | Rationale |
| --- | --- | --- |
| Prediction latency | p99 < 50ms | Operator response time constraints |
| False negative rate | < 0.1% for CRITICAL faults | Safety-critical asymmetric cost |
| Sensor fault coverage | > 95% of known fault modes | Completeness of fault taxonomy |
| Availability | 99.99% | Safety monitoring cannot have downtime |
| Uncertainty calibration | ECE < 0.05 | Operator trust requires calibrated confidence |
| Model explainability | SHAP values per prediction | Regulatory and operational requirement |
| Data throughput | > 50,000 readings/sec | Full plant instrumentation coverage |

# 3. Solution Architecture

## 3.1 High-Level Architecture

INTERNET / SCADA SYSTEMS

│

┌─────────▼─────────┐

│   Cloud Armor     │  ← WAF + DDoS

└─────────┬─────────┘

│

┌─────────▼─────────┐

│  HTTPS LB + IAP   │  ← Identity-Aware Proxy

└─────────┬─────────┘

│

┌───────────────────────────────────┼──────────────────────────────────┐

│                      GKE PRIVATE CLUSTER                             │

│                                                                      │

│  ┌──────────────┐   ┌──────────────┐  ┌──────────────┐               │

│  │  INGESTION   │   │      ML      │  │ OBSERVABILITY│               │

│  │  NAMESPACE   │   │  NAMESPACE   │  │  NAMESPACE   │               │

│  │              │   │              │  │              │               │

│  │ • Kafka      │   │ • PINN API   │  │ • Prometheus │               │

│  │ • Validator  │◄─►│ • BNN Server │  │ • Grafana    │               │

│  │ • Feat.Eng.  │   │ • UQ Engine  │  │ • Jaeger     │               │

│  │ • Feast      │   │ • Rule Eng.  │  │ • Alertmgr   │               │

│  └──────────────┘   └──────────────┘  └──────────────┘               │

└──────────────────────────────────────────────────────────────────────┘

│                   │                 │

┌─────▼ ──────┐   ┌───────▼──────┐   ┌──────▼──────┐

│Cloud Storage│   │Secret Manager│   │ Cloud Mon.  │

│ • raw data  │   │ • API keys   │   │ • Metrics   │

│ • models    │   │ • SCADA creds│   │ • Logs      │

│ • features  │   └──────────────┘   └─────────────┘

└─────────────┘

## 3.2 Data Flow

SENSOR SOURCES          INGESTION         PROCESSING          OUTPUT

─────────────           ─────────          ──────────          ──────

┌──────────────┐

│ Thermocouples│──┐

│  (temp, °C)  │  │                                       ┌──────────┐

└──────────────┘  │   ┌──────────┐   ┌──────────────┐     │  Alert   │

├──►│  Kafka   │──►│   Feature    │────►│  System  │

┌──────────────┐  │   │  Topics  │   │   Pipeline   │     └──────────┘

│ Neutron flux │──┤   └──────────┘   └──────┬───────┘

│ detectors    │  │                         │          ┌──────────────┐

└──────────────┘  │                         ▼          │  Operator    │

│                   ┌──────────┐     │  Dashboard   │

┌──────────────┐  │                   │  PINN +  │────►│  (Grafana)   │

│ Pressure/    │──┤                   │  BNN +   │     └──────────────┘

│ Flow sensors │  │                   │  Rules   │

└──────────────┘  │                   └──────────┘      ┌──────────────┐

│                                     │   MLflow     │

┌──────────────┐  │                                     │   Registry   │

│ Control rod  │──┘                                     └──────────────┘

│  positions   │

└──────────────┘

## 3.3 Sensor Fault Detection Pre-Pipeline

Before any ML model sees the data, a dedicated sensor validation layer classifies each reading. This is a key architectural decision: sensor faults are not the same as process anomalies and must be handled separately.

| Detector | Method | Target Fault |
| --- | --- | --- |
| Stuck value detector | Rolling variance < threshold for N consecutive samples | Stuck sensor / frozen reading |
| Rate-of-change detector | dX/dt > physical_maximum (e.g., 50°C/sec) | Noise spike / EMI burst |
| Range validator | X < X_min or X > X_max (physics limits) | Out-of-range bias fault |
| Cross-correlation checker | Pearson(sensor_i, sensor_j) vs baseline | Single-sensor drift vs correlated drift |
| Kalman filter residual | ¦measurement - prediction¦ > k·σ | Gradual drift detection |

# 4. Data & Simulation Layer

## 4.1 Data Sources (Progression Strategy)

The recommended approach is to start with publicly available benchmark datasets, validate the pipeline, then move to physics simulation for richer fault injection.

| Phase | Dataset | URL / Source | What It Trains |
| --- | --- | --- | --- |
| 1 — Benchmark | Tennessee Eastman Process (TEP) | github.com/camaramm/tennessee-eastman-profBraatz | 52 process variables, 21 fault types. Gold standard for industrial anomaly detection. |
| 1 — Benchmark | NASA Prognostics Repository | ti.arc.nasa.gov/tech/dash/groups/pcoe | Turbofan degradation, bearing faults. RUL prediction baseline. |
| 2 — Nuclear | KAERI NPP Dataset (Kaggle) | kaggle.com search: 'KAERI nuclear' | Real Korean test reactor sensor data with labeled events. |
| 2 — Nuclear | IAEA PRIS operational data | pris.iaea.org | Plant-level operational parameters for normalcy modeling. |
| 3 — Simulation | OpenMC generated data | openmc.org (pip install openmc) | Physics-accurate neutronics + thermal with injected faults. |
| 3 — Simulation | PyDy thermal circuit model | pydy.org | Custom ODE thermal model, full control of fault injection. |

## 4.2 Sensor Data Schema

# Unified sensor reading schema

{

"reading_id":    "uuid-v4",

"timestamp":     "2024-01-15T14:32:18.001Z",   # ms precision

"plant_id":      "REACTOR-01",

"sensor": {

"id":          "TC-CORE-12",

"type":        "thermocouple | flux_detector | pressure | flow | position",

"location":    "primary_loop | secondary_loop | core | containment",

"elevation_m": 3.45

},

"measurement": {

"value":       312.4,

"unit":        "celsius | bar | kg_s | percent | normalized",

"quality":     "good | suspect | bad | missing",   # SCADA quality flag

"raw_counts":  4092                                # ADC raw value

},

"metadata": {

"calibration_date": "2024-01-01",

"last_maintenance":  "2023-12-15",

"drift_coefficient": 0.0012

}

}

## 4.3 Fault Injection with OpenMC + PyDy

The simulation pipeline generates labeled training data with known ground truth — something impossible to get from real plant data for rare events.

# data/generators/reactor_simulator.py (simplified)

import numpy as np

from dataclasses import dataclass

@dataclass

class FaultInjector:

"""Inject realistic sensor faults into clean simulation data."""

def inject_drift(self, series: np.ndarray, rate: float = 0.001) -> np.ndarray:

"""Simulate thermocouple drift: cumulative offset growing over time."""

drift = np.cumsum(np.random.normal(rate, rate * 0.1, len(series)))

return series + drift

def inject_stuck(self, series: np.ndarray, start: int, duration: int) -> np.ndarray:

"""Simulate stuck sensor: freeze at last valid reading."""

result = series.copy()

result[start:start + duration] = series[start - 1]

return result

def inject_noise_spike(self, series: np.ndarray, idx: int,

magnitude: float = 5.0) -> np.ndarray:

"""Single-sample EMI spike, physically implausible dX/dt."""

result = series.copy()

result[idx] += np.random.choice([-1, 1]) * magnitude * np.std(series)

return result

def inject_bias(self, series: np.ndarray, offset: float) -> np.ndarray:

"""Systematic calibration offset from a point in time."""

start = np.random.randint(len(series) // 4, len(series) // 2)

result = series.copy()

result[start:] += offset

return result

## 4.4 Storage Structure

gs://reactorguard-data-raw/

├── plant=REACTOR-01/year=2024/month=01/day=15/hour=14/

│   └── readings_20240115T14.parquet          # partitioned by sensor location

└── simulation/fault_type=stuck/seed=42/

└── sim_run_001.parquet                    # labeled simulation data

gs://reactorguard-data-processed/

├── features/window=60s/                       # 60-second rolling features

└── validation/                                # sensor quality flags

gs://reactorguard-models/

├── pinn/v1/                                   # Physics-Informed NN

├── bnn/v1/                                    # Bayesian Neural Net

└── conformal/v1/                              # Conformal prediction sets

gs://reactorguard-mlflow/

├── experiments/

└── artifacts/

# 5. ML / AI System

## 5.1 Model Architecture Overview

┌────────────────────────────────────┐

│         MODEL ENSEMBLE             │

└────────────────────────────────────┘

│

┌───────────────────────────┼─────────────────────────┐

│                           │                         │

▼                           ▼                         ▼

┌───────────────┐        ┌──────────────────┐      ┌─────────────────┐

│     PINN      │        │       BNN        │      │  RULE / PHYSICS │

│  (Residuals)  │        │ (Uncertainty)    │      │    CHECKER      │

│               │        │                  │      │                 │

│ Encodes:      │        │ Output:          │      │ Hard constraints│

│ Energy balance│        │ μ ± σ per sensor │      │ dT/dt limits    │

│ Mass balance  │        │                  │      │ Energy balance  │

│ Neutron eq.   │        │ Calibrated via   │      │ Flow continuity │

└───────┬───────┘        │ Conformal Pred.  │      └────────┬────────┘

│                └────────┬─────────┘               │

└──────────────────────── ┼─────────────────────────┘

│

▼

┌──────────────────────────┐

│      FUSION LAYER        │

│                          │

│  anomaly_score =         │

│    pinn_residual * 0.35  │

│  + bnn_uncertainty * 0.35│

│  + rule_violations * 0.30│

│                          │

│  IF rule_violation == 1: │

│    severity = CRITICAL   │

│    (overrides ML score)  │

└──────────────────────────┘

## 5.2 Physics-Informed Neural Network (PINN)

The PINN is the core innovation. It learns to predict the expected sensor readings given the current plant state, and the residuals between prediction and measurement are the anomaly signal. Crucially, the loss function includes physics constraint terms that penalize predictions violating thermodynamic laws.

# ml/models/pinn.py

import torch

import torch.nn as nn

class ReactorPINN(nn.Module):

"""

Physics-Informed Neural Network for reactor state prediction.

Loss = data_loss + lambda_e * energy_loss + lambda_m * mass_loss

"""

def __init__(self, n_sensors: int, hidden: int = 256):

super().__init__()

self.net = nn.Sequential(

nn.Linear(n_sensors + 4, hidden),  # +4: time features

nn.Tanh(),

nn.Linear(hidden, hidden),

nn.Tanh(),

nn.Linear(hidden, hidden),

nn.Tanh(),

nn.Linear(hidden, n_sensors)        # predict next state

)

self.lambda_energy = 1.0

self.lambda_mass   = 1.0

def forward(self, x: torch.Tensor) -> torch.Tensor:

return self.net(x)

def energy_balance_loss(self, state: torch.Tensor) -> torch.Tensor:

"""

Simplified: Q_generated must equal Q_removed + Q_stored

Q_gen  = neutron_flux * fission_energy

Q_rem  = flow_rate * Cp * (T_out - T_in)

"""

flux     = state[:, 0]

flow     = state[:, 1]

t_in     = state[:, 2]

t_out    = state[:, 3]

Cp       = 4182.0  # J/kg·K water

q_removed = flow * Cp * (t_out - t_in)

q_gen     = flux * 3.2e-11 * 2.5e18  # simplified fission power

return torch.mean((q_gen - q_removed) ** 2)

def mass_balance_loss(self, state: torch.Tensor) -> torch.Tensor:

"""Coolant mass in primary loop must be conserved."""

flow_in  = state[:, 1]

flow_out = state[:, 4]

return torch.mean((flow_in - flow_out) ** 2)

def training_loss(self, x, y_true):

y_pred = self.forward(x)

data_loss   = nn.MSELoss()(y_pred, y_true)

energy_loss = self.energy_balance_loss(y_pred)

mass_loss   = self.mass_balance_loss(y_pred)

total = (data_loss

+ self.lambda_energy * energy_loss

+ self.lambda_mass   * mass_loss)

return total, {'data': data_loss, 'energy': energy_loss, 'mass': mass_loss}

## 5.3 Bayesian Neural Network + Conformal Prediction

The BNN produces uncertainty estimates. Conformal Prediction wraps these estimates to provide statistically guaranteed coverage — the prediction interval contains the true value with at least 1-alpha probability regardless of model assumptions.

# ml/models/uncertainty.py

from mapie.regression import MapieRegressor

from sklearn.neural_network import MLPRegressor

import numpy as np

class UncertaintyQuantifier:

"""

Conformal Prediction wrapper. Guarantees coverage:

P(y_true in [y_low, y_high]) >= 1 - alpha

"""

def __init__(self, alpha: float = 0.05):

self.alpha = alpha

base = MLPRegressor(hidden_layer_sizes=(128, 64), max_iter=500)

self.mapie = MapieRegressor(estimator=base, method='plus', cv=5)

def fit(self, X_train, y_train):

self.mapie.fit(X_train, y_train)

def predict(self, X) -> dict:

y_pred, y_pis = self.mapie.predict(X, alpha=self.alpha)

interval_width = y_pis[:, 1, 0] - y_pis[:, 0, 0]

# Wide interval = high uncertainty = flag for operator

uncertainty_flag = interval_width > self._threshold

return {

'prediction':       y_pred,

'lower':            y_pis[:, 0, 0],

'upper':            y_pis[:, 1, 0],

'interval_width':   interval_width,

'uncertainty_flag': uncertainty_flag

}

def calibrate_threshold(self, X_cal, y_cal):

"""Set interval width threshold from calibration set."""

result = self.predict(X_cal)

self._threshold = np.percentile(result['interval_width'], 95)

## 5.4 Physics Rule Engine

Hard constraints that override ML scores. These are deterministic checks — if a constraint is violated, severity is CRITICAL regardless of model confidence.

| Constraint | Formula | Physical Meaning |
| --- | --- | --- |
| Energy balance | ¦Q_gen - Q_removed¦ / Q_gen > 0.05 | More than 5% energy imbalance in primary loop |
| Temperature monotonicity | T_core_outlet < T_core_inlet | Outlet must be hotter than inlet (heat source = core) |
| Maximum dT/dt | dT/dt > 10°C/second | Physically impossible temperature change rate |
| Flow rate range | flow < 0 or flow > pump_max | Flow cannot be negative or exceed pump capacity |
| Power/flux correlation | ¦P_thermal - k*flux¦ > threshold | Thermal power and neutron flux must correlate |
| Pressure/temperature consistency | P < P_sat(T) in primary circuit | Primary coolant cannot boil (PWR design basis) |

## 5.5 Feature Engineering for Time Series

| Feature | Type | Window | Physical Relevance |
| --- | --- | --- | --- |
| rolling_mean_{sensor} | float | 60s, 5min, 1h | Baseline state estimation |
| rolling_std_{sensor} | float | 60s, 5min | Noise level / variability |
| rate_of_change | float | 1s, 10s | dX/dt — spike and ramp detection |
| kalman_residual | float | online | Deviation from Kalman filter prediction |
| cross_correlation_{i,j} | float | 5min | Sensor pair correlation vs baseline |
| variance_ratio | float | short/long | Ratio of short to long window variance |
| zero_crossing_rate | float | 60s | Oscillation detection (hydraulic instability) |
| stuck_score | float | 10s | Rolling variance < epsilon threshold |
| hour_of_day | int | — | Operational cycle patterns |
| power_level_pct | float | — | Operating regime context |

# 6. API Layer

## 6.1 Endpoints

| Endpoint | Method | Description | Latency Target |
| --- | --- | --- | --- |
| /v1/analyze | POST | Single sensor window analysis with uncertainty | < 50ms p99 |
| /v1/analyze/batch | POST | Batch up to 500 readings | < 500ms p99 |
| /v1/sensor/validate | POST | Sensor fault classification only (no ML) | < 10ms p99 |
| /v1/constraints/check | POST | Physics constraint check only | < 5ms p99 |
| /v1/explain | POST | SHAP explanation for a prediction | < 200ms p99 |
| /health | GET | Liveness probe | < 5ms |
| /ready | GET | Readiness probe (models loaded) | < 5ms |
| /metrics | GET | Prometheus metrics endpoint | < 5ms |

## 6.2 Prediction Response Schema

{

"reading_id":      "550e8400-e29b-41d4-a716-446655440000",

"sensor_id":       "TC-CORE-12",

"timestamp":       "2024-01-15T14:32:18.001Z",

"sensor_health": {

"status":        "good | suspect | faulty",

"fault_type":    "none | drift | stuck | spike | bias",

"confidence":    0.94

},

"anomaly": {

"score":         0.87,

"severity":      "NORMAL | LOW | MEDIUM | HIGH | CRITICAL",

"is_anomaly":    true,

"pinn_residual": 0.043,

"bnn_prediction": {

"value":   312.4,

"lower":   309.1,

"upper":   315.7,

"coverage": 0.95

}

},

"physics": {

"constraints_checked": ["energy_balance", "max_dT_dt", "flow_range"],

"violations":          [],

"energy_balance_pct":  0.012

},

"explanation": {

"top_features": [

{"feature": "rolling_std_60s", "shap_value": 0.31},

{"feature": "kalman_residual", "shap_value": 0.28},

{"feature": "rate_of_change",  "shap_value": 0.19}

],

"narrative": "Anomaly driven by unusually high variance in the last 60s combined with Kalman filter deviation."

},

"recommended_actions": [

"Cross-check with redundant sensor TC-CORE-11",

"Verify coolant flow rate at pump P-01",

"Notify shift supervisor if variance persists > 2min"

]

}

# 7. Infrastructure Layer (Terraform)

## 7.1 GCP Resources

GCP Project: reactorguard-platform

│

├── Networking

│   ├── VPC: reactorguard-vpc (10.0.0.0/16)

│   ├── Subnet: gke-nodes    (10.0.1.0/24)  — Private

│   ├── Subnet: gke-pods     (10.0.16.0/20) — Secondary

│   ├── Subnet: gke-services (10.0.32.0/20) — Secondary

│   ├── Cloud NAT + Router

│   └── Cloud Armor WAF (OWASP rules)

│

├── Compute

│   └── GKE Cluster: reactorguard-cluster (Private, Autopilot optional)

│       ├── Node Pool: platform   (e2-standard-4)

│       └── Node Pool: ml-serving (n1-standard-8, preemptible OFF)

│

├── Messaging

│   └── Pub/Sub topics (Kafka bridge or direct)

│       ├── sensor-readings-raw

│       ├── sensor-validated

│       └── anomaly-alerts

│

├── Storage

│   ├── GCS: reactorguard-data-raw

│   ├── GCS: reactorguard-data-processed

│   ├── GCS: reactorguard-models

│   └── GCS: reactorguard-mlflow

│

├── Security

│   ├── Secret Manager: SCADA credentials, API keys, JWT secret

│   ├── KMS: CMEK for storage encryption

│   ├── Binary Authorization

│   └── IAM: Workload Identity per service account

│

└── Monitoring

├── Cloud Logging (all namespaces)

└── Cloud Monitoring + Managed Prometheus

## 7.2 Key Terraform Module: Kafka on GKE

Kafka is deployed via the Strimzi operator on GKE. This is more complex than Sentinel's Pub/Sub approach but necessary for the high-throughput, low-latency sensor stream.

# modules/kafka/main.tf

resource "helm_release" "strimzi" {

name       = "strimzi"

repository = "https://strimzi.io/charts/"

chart      = "strimzi-kafka-operator"

namespace  = "kafka-operator"

version    = "0.39.0"

}

resource "kubectl_manifest" "kafka_cluster" {

yaml_body = <<-YAML

apiVersion: kafka.strimzi.io/v1beta2

kind: Kafka

metadata:

name: reactorguard-cluster

namespace: sentinel-platform

spec:

kafka:

replicas: 3

config:

log.retention.hours: 168

num.partitions: 12

default.replication.factor: 3

min.insync.replicas: 2

zookeeper:

replicas: 3

YAML

}

# 8. Kubernetes Platform

## 8.1 Namespace Structure

| Namespace | Services | Network Policy |
| --- | --- | --- |
| reactorguard-ingestion | Kafka consumers, Sensor validator, Feature pipeline, Feast | Accepts from: Kafka topics. Sends to: reactorguard-ml |
| reactorguard-ml | PINN API, BNN Server, UQ Engine, Rule Engine, Fusion service | Accepts from: ingestion, observability. Sends to: GCP APIs |
| reactorguard-observability | Prometheus, Grafana, Jaeger, Alertmanager | Scrapes from: all namespaces on :8000, :9090 |
| kafka-operator | Strimzi operator, Kafka brokers, Zookeeper | Internal only |

## 8.2 ML Serving Deployment (key differences vs Sentinel)

# k8s/base/ml/pinn-server/deployment.yaml

apiVersion: apps/v1

kind: Deployment

metadata:

name: pinn-server

namespace: reactorguard-ml

spec:

replicas: 3

template:

spec:

# ML nodes — no preemption for safety-critical serving

nodeSelector:

node-pool: ml-serving

tolerations:

- key: ml-workload

operator: Equal

value: 'true'

containers:

- name: pinn

image: gcr.io/PROJECT_ID/reactorguard-pinn:v1.0.0

resources:

requests:

cpu: '2000m'

memory: '4Gi'

limits:

cpu: '4000m'

memory: '8Gi'

# Startup probe — model loading can take 30-60s

startupProbe:

httpGet:

path: /ready

port: 8000

failureThreshold: 30

periodSeconds: 5

livenessProbe:

httpGet:

path: /health

port: 8000

periodSeconds: 10

env:

- name: PHYSICS_CONSTRAINT_LAMBDA

value: '1.0'

- name: UNCERTAINTY_ALPHA

value: '0.05'

- name: MODEL_VERSION

valueFrom:

configMapKeyRef:

name: ml-config

key: active-model-version

## 8.3 PodDisruptionBudget (Safety-Critical)

For a safety-critical system, we must guarantee a minimum number of replicas are always available during node upgrades or failures.

apiVersion: policy/v1

kind: PodDisruptionBudget

metadata:

name: pinn-server-pdb

namespace: reactorguard-ml

spec:

minAvailable: 2   # Always keep at least 2 replicas running

selector:

matchLabels:

app: pinn-server

# 9. CI/CD & MLOps Pipeline

## 9.1 Pipeline Overview

CODE PUSH          TEST          SCAN          BUILD         DEPLOY

─────────          ────          ────          ─────         ──────

Unit tests    SAST           Docker         Staging

Lint          Semgrep        Build          Smoke test

Type check    pip-audit      Trivy scan     Canary 10%

Physics       Gitleaks       Push GCR       Monitor

unit tests    tfsec                         Full rollout

┌────────────────────────────────────────────┐

│  ML TRAINING GATE (weekly CronJob)         │

│                                            │

│  1. Retrain on new labeled data            │

│  2. Physics constraint satisfaction > 99%  │

│  3. Calibration ECE < 0.05                 │

│  4. False negative rate CRITICAL < 0.1%    │

│  5. Latency p99 < 50ms                     │

│  ALL pass → auto-promote to Production      │

│  ANY fail → alert + block deploy           │

└────────────────────────────────────────────┘

## 9.2 ML Training Workflow (key additions vs Sentinel)

# .github/workflows/ml-training.yaml  (excerpt)

- name: Validate physics constraints

run: |

python ml/validation/physics_check.py \

--model-path gs://reactorguard-models/pinn/candidate \

--test-data gs://reactorguard-data-processed/test \

--min-satisfaction 0.99   # 99% of predictions must satisfy

# all physics constraints

- name: Validate uncertainty calibration

run: |

python ml/validation/calibration_check.py \

--max-ece 0.05 \

--coverage-target 0.95

- name: Validate critical fault recall

run: |

python ml/validation/safety_check.py \

--fault-types stuck,drift,thermal_excursion \

--min-recall 0.999  # 99.9% recall on CRITICAL faults

## 9.3 DVC for Data Versioning

Unlike Sentinel, ReactorGuard uses DVC (Data Version Control) alongside MLflow to track not just model versions but data pipeline versions — critical when simulation parameters change.

# dvc.yaml — data pipeline stages

stages:

simulate:

cmd: python data/generators/reactor_simulator.py

params:

- simulation.yaml:

- n_samples

- fault_injection_rate

- openmc_seed

outs:

- data/raw/simulation/

featurize:

cmd: python ml/features/pipeline.py

deps:

- data/raw/simulation/

outs:

- data/processed/features/

train:

cmd: python ml/training/train_pinn.py

deps:

- data/processed/features/

- ml/models/pinn.py

outs:

- models/pinn/candidate/

# 10. Observability Stack

## 10.1 Key Metrics

| Metric | Type | Alert Threshold |
| --- | --- | --- |
| reactorguard_predictions_total | Counter | — |
| reactorguard_anomaly_score_histogram | Histogram | p99 > 0.8 for 5min → WARNING |
| reactorguard_critical_alerts_total | Counter | Any increment → CRITICAL page |
| reactorguard_prediction_latency_seconds | Histogram | p99 > 0.05s → WARNING |
| reactorguard_physics_violations_total | Counter | Any increment → CRITICAL page |
| reactorguard_sensor_faults_total | Counter by fault_type | stuck > 3/hour → WARNING |
| reactorguard_model_uncertainty_mean | Gauge | > 2x baseline → WARNING |
| reactorguard_uncertainty_calibration_ece | Gauge | > 0.05 → model retrain trigger |

## 10.2 Grafana Dashboards

| Dashboard | Panels |
| --- | --- |
| Reactor Overview | Anomaly score heatmap per sensor, Active alerts by severity, Physics constraint violations rate, Sensor health status grid |
| ML Model Health | Prediction latency p50/p95/p99, Uncertainty (mean interval width over time), Calibration ECE trend, Physics constraint satisfaction rate |
| Sensor Analytics | Time series per sensor with anomaly overlay, Stuck sensor count, Drift score trends, Cross-correlation matrix heatmap |
| Operations | Alert volume by severity, Mean time to acknowledge, False positive rate (operator feedback), Model version active |

## 10.3 Distributed Tracing with Jaeger

Unlike Sentinel, ReactorGuard adds OpenTelemetry distributed tracing to track a single sensor reading through every service: Kafka consumer → Feature pipeline → PINN → BNN → Fusion → Alert. This is essential for debugging latency issues in the chain.

# 11. Implementation Roadmap

| Phase | Weeks | Deliverable | Key Learning |
| --- | --- | --- | --- |
| 1 — Foundation | 1-2 | GKE cluster + Kafka on GKE via Strimzi | Stateful workloads on Kubernetes, Kafka operators |
| 2 — Data Pipeline | 3-4 | Sensor ingestion + TEP dataset pipeline + fault validator | Streaming feature engineering, sensor fault taxonomy |
| 3 — Simulation | 5 | OpenMC / PyDy synthetic data generator with fault injection | Physics simulation, labeled data generation |
| 4 — ML Core | 6-7 | PINN training + physics constraint validation + MLflow | Physics-informed ML, PyTorch training loop, DVC |
| 5 — Uncertainty | 8 | BNN + Conformal Prediction + calibration metrics | Uncertainty quantification, MAPIE, ECE metric |
| 6 — API + Serving | 9-10 | FastAPI with SHAP explanations + K8s deployment | ML serving, SHAP, PDB, startup probes |
| 7 — CI/CD + Sec | 11 | Full GitHub Actions with ML safety gates | ML-specific CI gates, safety-critical testing |
| 8 — Observability | 12 | Prometheus + Grafana + Jaeger + calibration alerts | Distributed tracing, ML-specific monitoring |

## 11.1 Week-by-Week Breakdown (Phase 1 & 2)

Week 1 — Infrastructure

- Create GCP project + enable APIs

- Terraform: VPC, GKE cluster, GCS buckets, IAM

- Deploy Strimzi Kafka operator via Helm

- Configure Workload Identity for all service accounts

Week 2 — Base Platform

- Deploy namespace structure + NetworkPolicies

- Set up Secret Manager + CMEK encryption

- CI/CD skeleton: GitHub Actions lint + test + build

- Configure Managed Prometheus on GKE

Week 3 — Tennessee Eastman Baseline

- Download and explore TEP dataset (52 variables, 21 fault types)

- Build streaming simulator from TEP CSV → Kafka topics

- Implement sensor fault validator (stuck, spike, range checks)

- Deploy Feast feature store with rolling window features

Week 4 — Feature Pipeline

- Implement all features from Section 5.5

- Build Kalman filter for drift detection

- Cross-correlation baseline computation

- DVC pipeline: raw → features → train/val/test split

## 11.2 Future Enhancements

- Remaining Useful Life (RUL) prediction module

- Digital twin integration (OpenMC real-time coupling)

- Federated learning across multiple simulated plants

- Explainability dashboard with counterfactual explanations

- ONNX model export for edge deployment (embedded controllers)

# 12. Repository Structure

reactorguard-platform/

│

├── .github/workflows/

│   ├── ci.yaml              # Test + scan + build

│   ├── terraform.yaml       # IaC pipeline

│   ├── ml-training.yaml     # Weekly retrain + safety gates

│   └── ml-promote.yaml      # Model promotion to Production

│

├── infra/terraform/

│   ├── modules/

│   │   ├── vpc/

│   │   ├── gke/

│   │   ├── kafka/           # Strimzi-based Kafka

│   │   ├── storage/

│   │   ├── iam/

│   │   └── security/

│   └── environments/dev|staging|prod/

│

├── k8s/

│   ├── base/

│   │   ├── ingestion/       # Kafka consumers, validator, Feast

│   │   ├── ml/              # PINN, BNN, UQ engine, fusion

│   │   ├── observability/   # Prometheus, Grafana, Jaeger

│   │   └── rbac/

│   └── overlays/dev|staging|prod/

│

├── api/

│   ├── main.py

│   ├── routers/

│   │   ├── predict.py

│   │   ├── explain.py       # SHAP endpoint

│   │   └── constraints.py   # Physics check endpoint

│   ├── Dockerfile

│   └── requirements.txt

│

├── ml/

│   ├── features/

│   │   ├── pipeline.py

│   │   └── kalman.py        # Kalman filter drift detector

│   ├── models/

│   │   ├── pinn.py          # Physics-Informed Neural Network

│   │   ├── bnn.py           # Bayesian Neural Network

│   │   ├── uncertainty.py   # Conformal Prediction wrapper

│   │   ├── rules.py         # Physics constraint engine

│   │   └── fusion.py        # Ensemble fusion layer

│   ├── training/

│   │   ├── train_pinn.py

│   │   └── train_bnn.py

│   ├── validation/

│   │   ├── physics_check.py

│   │   ├── calibration_check.py

│   │   └── safety_check.py

│   └── serving/

│       └── model_server.py

│

├── data/

│   ├── schemas/

│   │   └── sensor_reading.py

│   ├── generators/

│   │   ├── reactor_simulator.py  # OpenMC + PyDy

│   │   ├── fault_injector.py

│   │   └── tep_streamer.py       # TEP dataset → Kafka

│   └── validation/

│       └── sensor_validator.py

│

├── observability/

│   ├── prometheus/rules.yaml

│   ├── grafana/dashboards/

│   └── alertmanager/config.yaml

│

├── tests/

│   ├── unit/

│   │   ├── test_pinn.py

│   │   ├── test_physics.py      # Physics constraint unit tests

│   │   └── test_uncertainty.py

│   ├── integration/

│   └── safety/

│       └── test_critical_faults.py  # Must-catch fault scenarios

│

├── docs/

│   ├── architecture.md

│   ├── physics_constraints.md

│   └── runbooks/

│

├── dvc.yaml                 # Data pipeline DAG

├── dvc.lock

├── params.yaml              # Simulation + training hyperparams

├── pyproject.toml

└── README.md

# 13. Getting Started

## 13.1 Prerequisites

gcloud   --version    # Google Cloud SDK >= 450

terraform --version   # >= 1.6.0

kubectl   version     # Kubernetes CLI >= 1.28

python    --version   # >= 3.11

docker    --version   # Docker >= 24

helm      version     # >= 3.12 (for Strimzi + Grafana)

dvc       --version   # >= 3.0 (pip install dvc[gcs])

## 13.2 Initial Setup

# 1. Clone repository

git clone https://github.com/yourusername/reactorguard-platform.git

cd reactorguard-platform

# 2. Authenticate to GCP

gcloud auth login

gcloud config set project reactorguard-platform

# 3. Enable APIs

gcloud services enable \

container.googleapis.com \

compute.googleapis.com \

storage.googleapis.com \

secretmanager.googleapis.com \

pubsub.googleapis.com

# 4. Terraform backend

gsutil mb -l europe-west1 gs://reactorguard-terraform-state

# 5. Deploy infrastructure

cd infra/terraform/environments/dev

terraform init && terraform apply

# 6. GKE credentials

gcloud container clusters get-credentials reactorguard-cluster \

--region europe-west1

# 7. Install Strimzi (Kafka operator)

helm repo add strimzi https://strimzi.io/charts/

helm install strimzi strimzi/strimzi-kafka-operator \

--namespace kafka-operator --create-namespace

# 8. Deploy K8s resources

kubectl apply -k k8s/overlays/dev

# 9. Verify

kubectl get pods -n reactorguard-ml

kubectl get pods -n reactorguard-ingestion

## 13.3 Run TEP Baseline (Quickstart)

# 1. Install Python dependencies

python -m venv venv && source venv/bin/activate

pip install -r requirements.txt

pip install dvc[gcs] openmc pymc mapie

# 2. Pull TEP data via DVC

dvc pull data/raw/tep/

# 3. Run feature pipeline

dvc repro featurize

# 4. Train PINN (starts with TEP, ~30min on CPU)

python ml/training/train_pinn.py \

--data gs://reactorguard-data-processed/features \

--experiment reactorguard-baseline-v1 \

--physics-lambda 1.0

# 5. Check physics constraint satisfaction

python ml/validation/physics_check.py \

--experiment reactorguard-baseline-v1

# 6. Run API locally

uvicorn api.main:app --reload --port 8000

# 7. Test prediction

curl -X POST http://localhost:8000/v1/analyze \

-H 'Content-Type: application/json' \

-H 'Authorization: Bearer ${TOKEN}' \

-d @tests/fixtures/sample_reading.json

# Appendix A: Decision Log

| Decision | Choice | Rationale vs Sentinel |
| --- | --- | --- |
| Streaming | Kafka (Strimzi) vs Pub/Sub | Higher throughput, lower latency, replayable for debugging |
| ML framework | PyTorch vs scikit-learn | PINNs require autograd for physics constraint gradients |
| Uncertainty method | Conformal Prediction (MAPIE) | Model-agnostic, distribution-free, guaranteed coverage |
| Data versioning | DVC added to MLflow | Simulation parameters must be versioned alongside models |
| Tracing | Jaeger + OpenTelemetry added | Multi-service latency debugging critical at <50ms target |
| Node pool | Non-preemptible ML nodes | Safety-critical — cannot tolerate preemption interruption |
| Serving replicas min | 3 (vs 2 in Sentinel) | PDB minAvailable=2 requires ≥3 to allow rolling updates |

# Appendix B: Physics Constraints Reference

| Law | Equation | Implementation |
| --- | --- | --- |
| Energy conservation | Q_gen = Q_removed + dU/dt | PINN loss term + hard rule check |
| Mass conservation | flow_in = flow_out (steady state) | Hard rule check on flow sensors |
| Fourier heat conduction | q = -k∇T | Feature: spatial temperature gradient |
| Max dT/dt (water) | dT/dt < 10°C/s (physical limit) | Hard rule: spike detector |
| Boiling point (PWR) | T < T_sat(P) in primary | Hard rule: pressure-temp lookup table |
| Neutron power correlation | P_thermal ∝ neutron_flux | Pearson correlation monitor |

# Appendix C: Glossary

| Term | Definition |
| --- | --- |
| PINN | Physics-Informed Neural Network — loss includes physical equations |
| BNN | Bayesian Neural Network — weights are distributions, not point estimates |
| UQ | Uncertainty Quantification — explicit representation of prediction confidence |
| ECE | Expected Calibration Error — measures how well confidence matches accuracy |
| Conformal Prediction | Distribution-free method providing guaranteed prediction intervals |
| RUL | Remaining Useful Life — time until a component is expected to fail |
| TEP | Tennessee Eastman Process — standard industrial fault detection benchmark |
| DVC | Data Version Control — Git-like versioning for datasets and pipelines |
| SCADA | Supervisory Control and Data Acquisition — industrial control system |
| PMU | Phasor Measurement Unit — high-frequency electrical grid sensor |
| GKE | Google Kubernetes Engine |
| CMEK | Customer-Managed Encryption Key |
| PDB | PodDisruptionBudget — Kubernetes availability guarantee during maintenance |